Section 1: General Questions

- Define the following terms as they relate to utility bills:
a. Demand Charges
b. Consumption Charges
c. Delivery Charges

- Explain the significance of the "tariff rate" listed on a utility bill.

- What information is typically found on the first page of an electric or gas utility bill?

- Describe how "on-peak" and "off-peak" charges differ on an electric bill. Why are these distinctions important?

- What is the purpose of the LIHEAP charge on utility bills?

Section 2: Electric Bill Analysis (Refer to the Sample Electric Bill)

- What is the total amount due for the billing period ending February 6, 2023?

- Identify the billed demand for the period covered.

- What was the power factor of the facility during this billing period?

- What was the amount of reactive power (kVAR) during this billing period?

- How much energy was consumed in kilowatt-hours (kWh) during the billing period?

- Break down the supply services charge for energy consumption. How is it calculated?

- List two additional charges included in the delivery services section and their amounts.

Section 3: Gas Bill Analysis (Refer to the Sample Gas Bill)

- What is the total amount due for the gas utility bill dated February 1, 2023?

- How many therms of gas were consumed during the billing period? Show how this is calculated using the provided meter readings and therm factor.

- What is the cost per therm for the "Cost of Gas" supply service?

- Identify the amount charged for the "Demand Charge" and explain its purpose.

- What is the distribution adjustment charge, and how much was billed for it?

Section 4: Practical Application

- Using both the sample electric and gas bills, calculate the total utility cost (electric + gas) for the provided billing periods.

- Using both sample bills, calculate the total energy consumed (in BTU) by the facility.  What fraction of the energy consumed was electricity?  What fraction was natural gas?

- What was the average cost per BTU for the facility?